{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":15,"n_cols":6,"rows_kept":15,"merged":[[1,5,14,5]],"flags":["formulas_cached_only"]}
["序号","名称","规格型号","单位","数量","备注"]
[1,"采煤机电缆","MCPTJX-1.9/3.3 3×150+3×70/3+3×(2×2.5)","米",610,"1、采煤机电缆型号仅供参考实际型号已各投标厂家为准。\n2、中标厂家提供中检集团工信安全科技有限公司出具的阻燃试验检测检验证明"]
[2,"刮板输送机电缆","MCPT-1.9/3.3KV 3*70+1*35+3*4","米",910]
[3,"转载机电缆/破碎机电缆","MYP-0.66/1.14KV 3*120+1*35","米",550]
[4,"高压电缆","MYPTJ-8.7/10KV3*150+3*50/3+3*2.5","米",1000]
[5,"高压电缆","MYPTJ-8.7/10KV3*50+3*25/3+3*2.5","米",2500]
[6,"高压电缆","MYPTJ-8.7/10KV3*35+3*16/3+3*2.5","米",500]
[7,"低压电缆","MYP-0.66/1.14KV 3*95+1*50","米",2000]
[8,"低压电缆","MYP-0.66/1.14KV 3*70+1*25","米",1500]
[9,"低压电缆","MYP-0.66/1.14KV 3*70+1*25","米",300]
[10,"低压电缆","MYP-0.66/1.14KV 3*35+1*16","米",200]
[11,"低压电缆","MYP-0.66/1.14KV 3*50+1*16","米",1000]
[12,"低压电缆","MYP-0.66/1.14KV 3*35+1*16","米",1000]
[13,"低压电缆","MZ-500   4*4","米",3000]
[14,"低压电缆","MYQ-0.3KV-4*1.5","米",2000]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}